WEEKLY OPERATIONS REPORT

1. **DOCUMENT ID#: CPI-OPS-7601-220206-AM1**
2. **TITLE: TAYLOR COGEN GONZALES WEEKLY OPERATIONS REPORT**
3. **START DATE: 01/31/22**
4. **END DATE: 02/06/22**
5. **KEY METRICS:**

Cogen Production: 164,746 kWh

% of Gross Load Served: 81.6 %

Net Grid After All Generation: 37,230 kWh

Net Exports: 30,211 kWh

Cogen Run-hours: 110.25 run-hours

1. **UNPLANNED OUTAGES:** 1. Friday 2/4 1:15PM Engine down due to low load, utilized time to clean coils. Left engine off through weekend do to low load. 36hrs

1. **OPERATING NOTES:** 1. Genset programmed to run 1500kw.
2. **UPCOMING:** 1. None.