WEEKLY OPERATIONS REPORT

1. **DOCUMENT ID#: CPI-OPS-7601-220227-AM1**
2. **TITLE: TAYLOR COGEN GONZALES WEEKLY OPERATIONS REPORT**
3. **START DATE: 02/21/22**
4. **END DATE: 02/27/22**
5. **KEY METRICS:**

Cogen Production: 123,312 kWh

% of Gross Load Served: 52.6 %

Net Grid After All Generation: 111,337 kWh

Net Exports: 19,747 kWh

Cogen Run-hours: 86.0 run-hours

1. **UNPLANNED OUTAGES:** 1. Monday was a holiday, Thursday shutdown on cylinder 16 detonation.

1. **OPERATING NOTES:** 1. Genset programmed to run 1500kw.
2. **UPCOMING:** 1. None.